## Slide 1
LM4040 Provides +/- 0.25% Accuracy
Sensors provide analog/digital values. Analog inputs can be wired directly to Arduino ADC
(analog pins) for 10-bit precision
Power Supply Can be between
1.8 and 5.5V
Micro Arduino Programmable Micro-controller
SDCARD Provides up to 4GB Storage
DS3234 RTC Provides time and alarm
Boost Converter Provides power converter and shutoff function
Signal Inverter Converts RTC Alarm to proper Voltage
Diodes allow RTC to wake up unit and Arduino to shut of unit via “Enable Pin” on PowerBoost
LM 4040
Battery
Sensor Network
Micro Arduino
SD Card
Real Time Clock
Boost Converter
Inverter

## Slide 2
MAX6126 Provides
4.096V power source
With +/- 0.02% accuracy
ADS1100
16-Bit ADC
Better than
built-in 10-Bit
Power Supply Can be between
1.8 and 5.5V
Micro Arduino Programmable Micro-controller
SDCARD Provides up to 4GB Storage
DS3234 RTC Provides time and alarm
Boost Converter Provides power converter and shutoff function
Signal Inverter Converts RTC Alarm to proper Voltage
Diodes allow RTC to wake up unit and Arduino to shut of unit via “Enable Pin” on PowerBoost
MAX 6126
ADS1100
Battery
Sensor Network
Micro Arduino
SD Card
Real Time Clock
Boost Converter
Inverter

## Slide 3
MAX6126 Provides
4.096V power source
With +/- 0.02% accuracy
16-Bit ADC:
Improves data
resolution
Battery Voltage
Highly flexible using
Boost Converter or
Voltage Regulator
Arduino: Programmable Micro-controller
SDCARD: Provides up to 128GB Storage
DS3234 RTC: Provides time and wake alarm
Provides power conversion and shutoff function
Signal Inverter Converts RTC Alarm to proper Voltage
Diodes allow RTC to wake up unit and Arduino to shut of unit via “Enable Pin” on PowerBoost
MAX 6126
16-bit ADC
Battery
Sensor
Arduino
SD Card
Real Time Clock
Boost Converter or Voltage Regulator
Inverter
Power Supply
Communication Signals
Sensor Signals
Wiring
Legend
Sensor
16-bit ADC
Individual Sensors
isolate signals
and enable
modular designs